## semantic-role-mapping
Function Key | Normalized Function | Semantic Role | Capability | Confidence | Channel Type | Attributes | Notes | Review Status
switch | switch | actuator.switch | state | low | semantic |  | may also be setpoint, can be relay, lighting, … | ok
azimuth | azimuth | astro.azimuth | state | high | semantic |  |  | ok
sunAzimuth | azimuth | astro.azimuth | state | high | semantic |  |  | ok
elevation | elevation | astro.elevation | state | high | semantic |  |  | ok
sunElevation | elevation | astro.elevation | state | high | semantic |  |  | ok
dayNight | day_night | climate.day_night | state | high | semantic |  |  | ok
slideSwitch | day_night | climate.day_night | setpoint | high | semantic |  |  | ok
fanSpeed | fan_speed | climate.fan_speed | setpoint | medium | semantic |  | may also be state in some EEPs | ok
fanspeed | fan_speed | climate.fan_speed | setpoint | medium | semantic |  | spelling variant of fanSpeed | ok
humidity | humidity | climate.humidity | measurement | high | semantic |  |  | ok
humiditySetpoint | humidity | climate.humidity | setpoint | high | semantic |  |  | ok
feedTemperature | supply_temperature | climate.supply_temperature | measurement | high | semantic |  |  | ok
roomTemperature | temperature | climate.temperature | measurement | high | semantic |  |  | ok
temperature | temperature | climate.temperature | measurement | high | semantic |  |  | ok
temperatureSetpoint | temperature | climate.temperature | setpoint | high | semantic |  |  | ok
valve | valve_position | climate.valve_position | state | medium | semantic |  | may also be setpoint | ok
window | window_state | climate.window_state | state | high | semantic |  | thermostat window-open detection | ok
autoOffTimer | timer | control.timer | setpoint | medium | semantic | {"timer_type":"auto_off"}
delayOffTimer | timer | control.timer | setpoint | medium | semantic | {"timer_type":"delay_off"}
rampingTime | timer | control.timer | setpoint | medium | semantic | {"timer_type":"ramping"}
rampingTime1 | timer | control.timer | setpoint | medium | semantic | {"timer_type":"ramping","channel":1}
rampingTime2 | timer | control.timer | setpoint | medium | semantic | {"timer_type":"ramping","channel":2}
rampingTime3 | timer | control.timer | setpoint | medium | semantic | {"timer_type":"ramping","channel":3}
randomEndDelay | timer | control.timer | setpoint | medium | semantic | {"timer_type":"random_end_delay"}
randomStartDelay | timer | control.timer | setpoint | medium | semantic | {"timer_type":"random_start_delay"}
rotationTime | timer | control.timer | setpoint | medium | semantic | {"timer_type":"rotation"}
switchTimer | timer | control.timer | setpoint | medium | semantic | {"timer_type":"switch"}
actuatorObstructed | actuator_obstructed | device.actuator_obstructed | state | high | device |  | deferred device-channel role
battery | battery | device.battery | state | high | device |  | deferred device-channel role
batteryLow | battery | device.battery | state | high | device | {"condition":"low"} | deferred device-channel role
batteryLowClick | battery | device.battery | state | medium | device | {"condition":"low_click"} | deferred device-channel role; enables sound for low-battery
displayOrientation | display_orientation | device.display_orientation | configuration | medium | device |  | deferred device-channel role
energyInput | energy_input | device.energy_input | state | medium | device |  | deferred device-channel role; = harvesting status
energyStorage | energy_storage | device.energy_storage | state | high | device |  | deferred device-channel role
energyStorageAvailability | energy_storage | device.energy_storage | state | medium | device |  | deferred device-channel role = energy storage data available
energyStorageCharged | energy_storage | device.energy_storage | state | high | device |  | deferred device-channel role
errorCode | error_code | device.error_code | diagnostic | high | device |  | deferred device-channel role
localControl | local_control | device.local_control | state | high | device |  | deferred device-channel role
localizationActive | localization | device.localization | state | medium | device |  | deferred device-channel role
occupancyEnabled | occupancy_enabled | device.occupancy_enabled | configuration | high | device |  | deferred device-channel role
powerFailureDetected | power_failure | device.power_failure | state | high | device |  | deferred device-channel role
powerFailureDetection | power_failure | device.power_failure | configuration | medium | device |  | deferred device-channel role
radioError | radio_error | device.radio_error | diagnostic | high | device |  | deferred device-channel role
radioSignalStrength | radio_signal_strength | device.radio_signal_strength | measurement | high | device |  | deferred device-channel role
repeater | repeater | device.repeater | state | medium | device |  | deferred device-channel role
communicationIntervall | timer | device.reporting_interval | configuration | medium | device |  | spelling from source retained
maxTimeBetweenReports | timer | device.reporting_interval | configuration | medium | device | {"limit":"max"} | deferred device-channel role
minTimeBetweenReports | timer | device.reporting_interval | configuration | medium | device | {"limit":"min"} | deferred device-channel role
sensorUpdateInverval | timer | device.reporting_interval | configuration | medium | device |  | spelling from source retained
temperatureAvailability | sensor_availability | device.sensor_availability | state | medium | device | {"sensor":"temperature"} | deferred device-channel role
sensorError | sensor_error | device.sensor_error | diagnostic | medium | device |  | deferred device-channel role
serviceMode | service_mode | device.service_mode | state | medium | device |  | deferred device-channel role
summerMode | summer_mode | device.summer_mode | state | medium | device |  | deferred device-channel role
supplyVoltage | supply_voltage | device.supply_voltage | measurement | high | device |  | deferred device-channel role
userInterfaceIndication | user_interface | device.user_interface | state | medium | device |  | deferred device-channel role
timeout | timer | control.timer | setpoint | medium | semantic | {"timer_type":"timeout"}
verticalMovementTime | timer | control.timer | setpoint | medium | semantic | {"timer_type":"vertical_movement"}
userActivity | user_activity | device.user_activity | state | high | semantic |  |  | ok
amperage | current | electrical.current | measurement | high | semantic |  |  | ok
current1 | current | electrical.current | measurement | high | semantic | {"phase":"L1"} |  | ok
sunEast | illuminance | environment | measurement | low | semantic
sunSouth | illuminance | environment | measurement | low | semantic
sunWest | illuminance | environment | measurement | low | semantic
accelerationStatus | acceleration | environment.acceleration | state | medium | device |  | deferred device-channel role
current2 | current | electrical.current | measurement | high | semantic | {"phase":"L2"} |  | ok
current3 | current | electrical.current | measurement | high | semantic | {"phase":"L3"} |  | ok
voltage | voltage | electrical.voltage | measurement | high | semantic |  |  | ok
accelerationX | acceleration | environment.acceleration | measurement | high | semantic | {"axis":"x"} |  | ok
accelerationY | acceleration | environment.acceleration | measurement | high | semantic | {"axis":"y"} |  | ok
accelerationZ | acceleration | environment.acceleration | measurement | high | semantic | {"axis":"z"} |  | ok
barometer | barometric_pressure | environment.barometric_pressure | measurement | high | semantic |  |  | ok
1Pentanol | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"1pentanol"} | special gas substance; low practical relevance for home automation | ok
2Butanol | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"2butanol"} | special gas substance; low practical relevance for home automation | ok
2Methylpropanol | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"2methylpropanol"} | special gas substance; low practical relevance for home automation | ok
4Phenylcyclohexene | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"4phenylcyclohexene"} | special gas substance; low practical relevance for home automation | ok
acetaldehydeue | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"acetaldehyde"} | special gas substance; low practical relevance for home automation | ok
aceticAcid | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"aceticacid"} | special gas substance; low practical relevance for home automation | ok
acetone | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"acetone"} | special gas substance; low practical relevance for home automation | ok
ammoniac | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"ammonia"} |  | ok
benzene | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"benzene"} | special gas substance; low practical relevance for home automation | ok
butyricAcid | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"butyricacid"} | special gas substance; low practical relevance for home automation | ok
cadaverine | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"cadaverine"} | special gas substance; low practical relevance for home automation | ok
caproicAcid | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"caproicacid"} | special gas substance; low practical relevance for home automation | ok
co2 | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"co2"} |  | ok
concentration | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"generic"} |  | ok
cyclopentane | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"cyclopentane"} | special gas substance; low practical relevance for home automation | ok
diethylEther | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"diethylether"} | special gas substance; low practical relevance for home automation | ok
dimethylSulfide | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"dimethylsulfide"} | special gas substance; low practical relevance for home automation | ok
ethanol | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"ethanol"} | special gas substance; low practical relevance for home automation | ok
ethyleneOxide | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"ethyleneoxide"} | special gas substance; low practical relevance for home automation | ok
formaldehyde | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"formaldehyde"} | special gas substance; low practical relevance for home automation | ok
hydrogenSulfide | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"hydrogensulfide"} | special gas substance; low practical relevance for home automation | ok
indole | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"indole"} | special gas substance; low practical relevance for home automation | ok
isovalericAcid | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"isovalericacid"} | special gas substance; low practical relevance for home automation | ok
limonene | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"limonene"} | special gas substance; low practical relevance for home automation | ok
methanol | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"methanol"} | special gas substance; low practical relevance for home automation | ok
naphthalene | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"naphthalene"} | special gas substance; low practical relevance for home automation | ok
nHexane | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"nhexane"} | special gas substance; low practical relevance for home automation | ok
nOctane | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"noctane"} | special gas substance; low practical relevance for home automation | ok
ozone | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"ozone"} |  | ok
propioniceAcid | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"propionicacid"} | special gas substance; low practical relevance for home automation | ok
putrescine | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"putrescine"} | special gas substance; low practical relevance for home automation | ok
radon | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"radon"} |  | ok
styrene | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"styrene"} | special gas substance; low practical relevance for home automation | ok
tetrachloroethylene | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"tetrachloroethylene"} | special gas substance; low practical relevance for home automation | ok
toluene | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"toluene"} | special gas substance; low practical relevance for home automation | ok
trichloroethylene | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"trichloroethylene"} | special gas substance; low practical relevance for home automation | ok
valericAcid | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"valericacid"} | special gas substance; low practical relevance for home automation | ok
voctTotal | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"voc_total"} |  | ok
xylene | gas_concentration | environment.gas_concentration | measurement | high | semantic | {"substance":"xylene"} | special gas substance; low practical relevance for home automation | ok
dawnSensor | illuminance | environment.illuminance | measurement | high | semantic |  |  | ok
illuminance | illuminance | environment.illuminance | measurement | high | semantic |  |  | ok
illumination | illuminance | environment.illuminance | measurement | high | semantic |  |  | ok
illuminationSetpoint | illuminance | environment.illuminance | setpoint | high | semantic |  |  | ok
particles_1 | particle_concentration | environment.particle_concentration | measurement | high | semantic | {"particle_size":"pm1"} |  | ok
particles_10 | particle_concentration | environment.particle_concentration | measurement | high | semantic | {"particle_size":"pm10"} |  | ok
particles_2_5 | particle_concentration | environment.particle_concentration | measurement | high | semantic | {"particle_size":"pm2_5"} |  | ok
rainIndication | rain | environment.rain | state | high | semantic |  |  | ok
solarRadiation | solar_radiation | environment.solar_radiation | measurement | high | semantic |  |  | ok
sourceLocalization | sound_direction | environment.sound_direction | measurement | high | semantic |  |  | ok
averageSoundLevel | sound_pressure | environment.sound_pressure | measurement | high | semantic | {"variant":"average"} |  | ok
picSoundLevel | sound_pressure | environment.sound_pressure | measurement | high | semantic | {"variant":"peak"} | peak; spelling source says pic | ok
soundPressure | sound_pressure | environment.sound_pressure | measurement | high | semantic |  |  | ok
wind | wind | environment.wind | state | high | semantic |  |  | ok
windDirection | wind_direction | environment.wind_direction | measurement | high | semantic |  |  | ok
windSpeed | wind_speed | environment.wind_speed | measurement | high | semantic |  |  | ok
windSpeedAverage | wind_speed | environment.wind_speed | measurement | high | semantic | {"variant":"average"} |  | ok
windSpeedMax | wind_speed | environment.wind_speed | measurement | high | semantic | {"variant":"maximum"} |  | ok
latitude | position | geo.position | state | high | semantic | {"coordinate":"latitude"} |  | ok
longitude | position | geo.position | state | high | semantic | {"coordinate":"longitude"} |  | ok
analogInput | input | io.input | measurement | high | semantic | {"signal_type":"analog"} |  | ok
digitalInput0 | input | io.input | state | high | semantic | {"signal_type":"digital","channel":0} |  | ok
digitalInput1 | input | io.input | state | high | semantic | {"signal_type":"digital","channel":1} |  | ok
digitalInput2 | input | io.input | state | high | semantic | {"signal_type":"digital","channel":2} |  | ok
digitalInput3 | input | io.input | state | high | semantic | {"signal_type":"digital","channel":3} |  | ok
wakeStatus | input | io.input | state | high | semantic | {"signal_type":"trigger"} |  | ok
dimming | brightness | lighting.brightness | state | medium | semantic |  | may also be setpoint | ok
dimValue | brightness | lighting.brightness | setpoint | medium | semantic |  | may also be state | ok
blue | color | lighting.color | state | medium | semantic | {"color_channel":"blue"} |  | ok
dimValueBlue | color | lighting.color | setpoint | medium | semantic | {"color_channel":"blue"} |  | ok
dimValueGreen | color | lighting.color | setpoint | medium | semantic | {"color_channel":"green"} |  | ok
dimValueRed | color | lighting.color | setpoint | medium | semantic | {"color_channel":"red"} |  | ok
green | color | lighting.color | state | medium | semantic | {"color_channel":"green"} |  | ok
red | color | lighting.color | state | medium | semantic | {"color_channel":"red"} |  | ok
operatingHours | operating_hours | lighting.operating_hours | state | high | semantic |  |  | ok
cumulativeCounter | counter | metering.counter | measurement | medium | semantic | {"variant":"cumulative"} |  | ok
currentCounter | counter | metering.counter | measurement | medium | semantic | {"variant":"current"} |  | ok
energy | energy | metering.energy | measurement | high | semantic |  |  | ok
energyDelta | energy | metering.energy | measurement | medium | semantic | {"variant":"delta"} | incremental energy change | ok
flowrate | flowrate | metering.flowrate | measurement | high | semantic |  |  | ok
materialLevel | level | metering.level | measurement | high | semantic |  |  | ok
power | power | metering.power | measurement | high | semantic |  |  | ok
powerDelta | power | metering.power | measurement | high | semantic | {"variant":"delta"} | incremental power change | ok
absoluteRelativePowerUsage | power_utilization | metering.power_utilization | state | high | semantic |  |  | ok
maxMinPowerUsage | power_utilization | metering.power_utilization | state | high | semantic |  |  | ok
powerUsage | power_utilization | metering.power_utilization | measurement | high | semantic |  |  | ok
volume | volume | metering.volume | measurement | high | semantic |  |  | ok
angle | angle | position.angle | state | low | semantic |  | may also be rotational angle, may also be setpoint | ok
contact | contact_state | security.contact_state | state | high | semantic |  |  | ok
alarm | fire_alarm | security.fire_alarm | state | medium | semantic |  | only used in F6-05-02; here "smoke alarm" | ok
handle | handle_position | security.handle_position | state | high | semantic |  |  | ok
burglaryAlarm | intrusion_alarm | security.intrusion_alarm | state | high | semantic |  |  | ok
protectionPlusAlarm | intrusion_alarm | security.intrusion_alarm | state | high | semantic |  |  | ok
vibration | intrusion_alarm | security.intrusion_alarm | state | high | semantic |  | in the context of A5-14-xx: intrusion alarm | ok
leakDetection | leak | security.leak | state | high | semantic |  |  | ok
liquidDetected | leak | security.leak | state | high | semantic |  |  | ok
pastLeakDetection | leak | security.leak | state | high | semantic |  |  | ok
locked | lock_state | security.lock_state | state | high | semantic |  |  | ok
motionDetected | motion | security.motion | state | high | semantic |  |  | ok
activity | occupancy | security.occupancy | state | high | semantic |  |  | ok
occupancy | occupancy | security.occupancy | state | high | semantic |  |  | ok
occupancyButton | occupancy | security.occupancy | state | high | semantic |  | user-triggered event | ok
presence | occupancy | security.occupancy | state | high | semantic |  |  | ok
unoccupancyButton | occupancy | security.occupancy | state | high | semantic |  | user-triggered event | ok
movement | movement | shading.movement | state | high | semantic |  |  | ok
repositioning | movement | shading.movement | command | high | semantic |  |  | ok
stop | movement | shading.movement | command | high | semantic | {"action":"stop"} |  | ok
endPosition | position | shading.position | setpoint | high | semantic | {"variant":"end_position"} |  | ok
position | position | shading.position | state | medium | semantic |  |  | ok
alarmAction |  | shading | command | low | semantic
alarmCounter | TBD | TBD | state | low | semantic
basicSetpoint | TBD | TBD | setpoint | low | semantic
button | TBD | TBD | state | low | semantic
buttonA0 | TBD | TBD | state | low | semantic
buttonAI | TBD | TBD | state | low | semantic
buttonB0 | TBD | TBD | state | low | semantic
buttonBI | TBD | TBD | state | low | semantic
buttonC0 | TBD | TBD | state | low | semantic
buttonCI | TBD | TBD | state | low | semantic
buttonD0 | TBD | TBD | state | low | semantic
buttonDI | TBD | TBD | state | low | semantic
buttonLeft | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
buttonLeftPressedCounter | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
buttonRight | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
buttonRightPressedCounter | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
channel | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
command | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
control | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
controlVariable | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
daylightHarvesting | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
defaultState | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
demandResponse | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
drLevel | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
energyHoldOff | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
extButton | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
handleClosedClick | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
handleClosedCounter | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
handleOpenedCounter | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
handleTiltedCounter | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
hemisphere | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
lockingMode | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
measurement | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
mode | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
multipleButtons | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
overcurrentSwitchOff | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
overcurrentSwitchOffMode | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
overcurrentSwitchOffReset | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
pilotWireMode | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
pirCounter | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
powerOnCounter | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
query | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
rampingMode | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
relativeSetpoint | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
reportMeasurement | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
resetMeasurement | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
runInitSequence | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
runLiftSet | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
setpoint | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
setpointInverse | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
setpointMode | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
setpointShift | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
source | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
standByMode | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
state | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
stateOfCard | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
status | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
statusReason | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
storeFinalValue | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
switchingState | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
switchType | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
taughtInDevices | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
temperatureSelection | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
temporaryDefault | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
trigger | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
vacationBlinkInterval | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
vacationBlinkInverval | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
vacationMode | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
valveMaintenance | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
wakeUpCycle | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
windowTiltedCounter | TBD | TBD | TBD | low | TBD |  | not yet classified; explicit coverage placeholder
amPm | datetime | time.datetime | state | high | semantic | {"component":"am_pm"} |  | ok
day | datetime | time.datetime | state | high | semantic | {"component":"day"} |  | ok
hour | datetime | time.datetime | state | high | semantic | {"component":"hour"} |  | ok
minute | datetime | time.datetime | state | high | semantic | {"component":"minute"} |  | ok
month | datetime | time.datetime | state | high | semantic | {"component":"month"} |  | ok
second | datetime | time.datetime | state | high | semantic | {"component":"second"} |  | ok
weekday | datetime | time.datetime | state | high | semantic | {"component":"weekday"} |  | ok
timeFormat | time_format | device.time_format | configuration | medium | device |  |  | ok
year | datetime | time.datetime | state | high | semantic | {"component":"year"} |  | ok
time | duration | time.duration | state | high | semantic |  |  | ok